## Slide 1: Biomedical Engineering
Angelica Rodriguez, Ben Paul, Corey Alexander, Lindsey Watterson

## Slide 2: Quality Factors
High level of correctness
Effieciency
Security
Reliable
High Usability

## Slide 3: FDA Biomedical Software Regulations/Standards
Accuracy, Reliability, ability to discern invalid or altered records
Generate accurate and complete copies of records for reading and electronic inspection, review, and copying
Protection of records
Limit system access
Accurately track all record creations, modifications, and deletions
System checks to ensure correct sequencing of steps and events
More at http://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfcfr/CFRSearch.cfm?CFRPart=11&showFR=1&subpartNode=21:1.0.1.1.7.2
All other testing is up to the developer

## Slide 4: Specific Examples Of Certain Criteria
Surgical Machines
  Accuracy: 1mm difference can make the difference between saving a life or losing it
Prosthetics and implant devices
  Reliability: needs to do the same time every time
  Security
    Hackers can gain access to patient heart monitors

## Slide 5: Suggested Testing
Database
  UX and usability test for frontends
  Stress testing
Software for equipment and devices
  Robust Worst Case Testing

## Slide 6: Success and Failure
Implants and Surgical Equipment
  Robotic equipment allows doctor to perform a surgery
  Implanted insulin pump fails to recognize the amount of insulin in the body
  Heart rate monitor fails and gives incorrect results such as flat-lining
Database and Hospital Systems
  Stores and returns data correctly within a specified speed range
  Fails if breaks those conditions

## Slide 7: Metrics
Chosen by individual developers and companies and are not regulated
Commonly used:
  McCabe Cyclomatic Complexity
  Lines of Code written
Suggested:
  Average Number of Comment Lines per Method
  Average Method Size

## Slide 8: Common Problems
Inability to test the software under real world conditions
Rarely have patients willing to have surgeries or implants to test software
Can only extensively test in labs